## Maintenance Log
Cadence | Category | Priority | Title | Description | Assigned to | Date Entered | Date Needed | Date Completed | Completed By | Next Need Date
Daily | Mechanical | 1 | Crowler Machine PM | Wipe Down with Rag and mild soap | Beertenders | 2020-10-12 | Daily
Weekly | Mechanical | 1 | Crowler Machine PM | Lubricate seals | Beertenders | 2020-10-12 | Weekly
Monthly | Mechanical | 1 | Crowler MAchine | Clean & lubricate wavy washer; Remove E-clip and pull lower chuck shaft out. Soak and clean components, dry, oil and re-assemble. | Brahm | 2023-06-15 | Bi-monthly | 2024-01-20 |  | 2024-02-20
Monthly | Mechanical | 1 | Slushy Machine | Clean outside of unit & and vacuum radiator fins | Brahm | 2023-09-26 | Monthly | 2024-01-23 |  | 2024-02-23
Annually | Mechanical | 1 | Garage Alley AC Unit | Deep clean with coil wash and hose | Brahm | 2023-08-29 | Annually | 2023-06-15 | Brahm | 2024-06-15
Annually | HVAC | 1 | Refrigerator Vent & Coil Clean | Clean (with vacuum) vents (back facing) on front of house kegerators, coolers, etc & Clean coils on front of house kegerator, coolers, etc | Brahm | 2020-10-12 | Quarterly | 2023-10-30 | Brahm | 2024-02-29
Annually | Mechanical | 1 | Air Compressor Oil | Change Oil (SAE 40) | Brahm | 2020-10-12 | Annually | 2023-10-17 | Brahm | 2024-10-17
Monthly | Boiler | 1 | Boiler Check | Check Boiler Interior Piping, Check Venting System, Check Air Vents | Brahm | 2020-10-12 | Monthly | 2021-12-10 | Brahm | 2021-01-10
Quarterly | Plumbing | 1 | Draino Sinks | Drino all handwash sinks | Brahm | 2023-10-17 | Quarterly | 2023-10-17 | Brahm | 2024-02-17
Quarterly | Other | 1 | HVAC Filters | Replace HVAC Filters | Brahm | 2020-10-10 | Bi-monthly | 2024-01-30 | Brahm | 2024-03-30
Quarterly | Other | 1 | Inspect Fire Extinguishers | Verify Fire Extinguishers | Brahm | 2020-10-10 | Monthly | 2024-01-30 | Brahm | 2024-02-29
Quarterly | HVAC | 1 | Garage Heater | Change Filter 16x20x2 | Brahm | 2020-10-12 | Quarterly | 2023-06-04 | Brahm | 2024-03-23
Quarterly | HVAC | 1 | Air Intake Registers | Vacuum Cold Air Inlets in HVAC system | Brahm | 2023-01-03 | Quarterly | 2024-01-30 | Brahm | 2024-04-30
Quarterly | HVAC | 1 | Air Handling Unit #2 Check | Check Belt Tension Belt # AX41 3311-284, Change 4 Filters 16x16x2, Clean Aluminum Mesh Filter | Brahm | 2020-10-12 | Quarterly | 2024-02-20 | Brahm | 2024-05-20
Quarterly | Boiler | 1 | Bloier Check | Operate Relief Valve | Brahm | 2020-10-12 | Quarterly | 2021-12-10 | Brahm | 2021-01-10
Quarterly | HVAC | 1 | Air Handling Unit #1 Check | Check Belt Tension Belt # Hi Power II A49, Change 4 Filters 20x20x2, Clean Aluminum Mesh Filter | Brahm | 2020-10-12 | Quarterly | 2024-02-20 | Brahm | 2024-05-20
Quarterly | HVAC | 1 | Fireplace Check | Inspect external vent cap for debris. Verify blow fan function (qty 1) | Brahm | 2020-10-12 | Quarterly | 2023-09-15 | Brahm | 2023-12-15
Quarterly | HVAC | 1 | Air Handling Unit #3 Check | Check Belt Tension Belt # AX35 4411, Change 2 Filters 16x25x2, Clean Aluminum Mesh Filter | Brahm | 2020-10-12 | Quarterly | 2024-01-30 | Brahm | 2024-04-30
Quarterly | HVAC | 1 | Air Handling Unit #4 Check model# 48TCRA06A2A5A0A0A0 | Check Belt Tension Belt # AX38 2811-281, Change 2 Filters 16x25x2 | Brahm | 2020-10-12 | Quarterly | 2024-01-30 | Brahm | 2024-04-30
Quarterly | Mechanical | 1 | Crowler Machine PM | Remove top cover and upper adjustment nuts. Remove roller assemblies, soak in warm water. Dry, oil and reassemble. Check Drive belt tension. Tighten if necessary being cautious to only tighten the slack out. | Brahm | 2020-10-12 | Quarterly | 2024-02-16 | Brahm | 2024-05-16
Quarterly | HVAC | 1 | Rooftop ERV | Check Belt Tension on both belts 4L38 48x380 4L36 48x360, Change 4 Filters 20x20x2, Clean Aluminum Mesh Filter | Brahm | 2020-10-12 | Quarterly | 2024-02-20 | Brahm | 2024-05-20
Quarterly | Electrical | 2 | LED Lights | Replace lights and ballasts for LED lights as needed | Brahm | 2020-10-12
Daily | Boiler | 1 | Boiler Check | Check boiler Area, Check Air Openings, Check Boiler Temp / Temp Gauge | Brewery | 2020-10-12 | Daily
Annually | Interior | 2 | chair and stool repair |  | TBD | 2020-10-31
One Time | Interior | 2 | Broom Rack | Broom rack for brooms in brewery | TBD | 2020-10-12 |  | 2021-12-01
Annually | Exterior | 3 | Ramp Stain | Re-stain ramp | TBD | 2020-10-10
Monthly | Exterior | 3 | patio area concrete clean |  | TBD | 2020-10-31
One Time | Interior | 3 | Fix slow leak in taproom triple | Replace all three drain baskets with new sealant | Brahm | 2023-02-28 | Soon
One Time | Plumbing | 3 | One Vessel Sink With Basin | Add one vessel sink to brewing sink | TBD | 2020-10-10 |  | 2021-10-25 | Wes | n/a
One Time | Exterior | 2 | Trim Paint repair | Exterior sections repair and paint | TBD | 2020-10-10 | 2020-10-30
One Time | Interior | 2 | Back Bar flooring | Replace / Repair flooring behind bar in community space | TBD | 2020-10-10 | 2020-01-30
One Time | Interior | 2 | Parts Rack | Addiional parts rack for brewing sink area | TBD | 2020-10-12 |  | 2021-12-01
One Time | Interior | 2 | Pallet Rack Anchor | Concrete anchor pallet rack | TBD | 2020-10-12
One Time | Plumbing | 3 | Immersion Heater | PBW Sink Heater with circulator | TBD | 2020-10-10
Annually | Interior | 2 | Community Floor Resurface | Resurface wood floors upstairs | Wes | 2020-10-10
One Time | Interior | 1 | Repair Brewery Tile | Repair / patch tile in brewing area | Wes | 2020-10-10 | 2020-10-20 | 2020-10-25 | Wes | n/a
One Time | Interior | 1 | Taproom barsink pilar | Repair drywall surface on pilar next to taproom 3 vessel sink | Wes | 2021-11-22 | 2021-12-15
One Time | Interior | 1 | Upstairs mop sink seal | Seal joint around upstairs mop sink | Wes | 2021-05-08 | 2021-11-15
One Time | Interior | 2 | Bathroom soap wall | Repair wall as a result of the soap dispenser | Wes | 2021-11-22 | 2022-01-01
One Time | Interior | 2 | Ceiling gap repair/closure | Repair / close gap to rafters in brewery north wall where equipment will be going | Wes | 2021-12-27 | 2021-12-31
One Time | Interior | 2 | Tile Repair | Brewery | Wes | 2021-10-25 | 2021-12-25
One Time | Interior | 2 | Stage Repair | Replace / repairs sections of stage | Wes | 2021-12-01 | 2021-12-15
One Time | Plumbing | 2 | Blow-off, Compressor | Compressor blow off line | Wes | 2020-10-12 |  | 2021-12-01 | Dresseler | n/a
One Time | Interior | 2 | Floor repair and finish | Repair floor in brewing area and surface finish | Wes | 2020-10-10 | 2020-12-30
One Time | Plumbing | 2 | Trench Drains | Install trench drain outside garage cooler | Wes | 2020-10-12 |  | 2021-01-10 | Wes | n/a
One Time | Interior | 2 | N2 Cylinder Storage, line upgrade to blender | Install proper cylinder storage equipment, upgrade line to blender | Wes | 2020-10-12 | 2020-11-30 | 2022-01-17
One Time | Other | 3 | East Alley Ramp | Replace decking surface | Wes | 2020-10-12 |  | 2021-11-22 | Wes | n/a
One Time | Plumbing | 1 | Bar Sink Leak | Repair leak on first sink in taproom | Wes | 2021-10-25 | 2021-10-25 | 2021-10-25 | Wes | n/a
One Time | Interior | 2 | Pool Table Bar | Mfg and install pool table bar surface | Wes | 2021-10-25 | 2021-11-15 | 2021-11-22 | Wes | n/a
One Time | Plumbing | 1 | Faucet Repair | Brewery | Wes | 2021-10-25 | 2021-10-27 | 2021-11-22 | Wes | n/a
One Time | Plumbing | 1 | Faucet Repair | Upstairs mop closet | Wes | 2021-10-25 | 2021-11-15 | 2021-11-22 | Wes | n/a
| Plumbing | 3 | Install trench drain | Install trench drain outside west alley garage door | Wes | 2021-01-25 | 2021-05-01 | 2021-10-25 | Wes | n/a

## Completed Tasks
Cadence | Category | Priority | Title | Description | Assigned to | Date Entered | Date Needed | Date Completed | Completed By | Next Need Date | Column1
One Time | Interior | 3 | Door Refinish | Paint Basement and Brewery doors | Brahm | 2021-10-25 | 2021-11-25 | 2021-11-22 | Brahm | n/a
One Time | Electrical | 2 | Keg Washer Heating Element |  | Brahm | 2020-10-12 | 2020-01-30 | 2021-10-25 | Brahm | n/a
One Time | HVAC | 2 | RTU 1 | Replace hardware and weather stripping on bolted door | Brahm | 2022-09-20 |  | 2022-09-20 | Brahm | n/a
One Time | Electrical | 1 | Motion Sensor lights | Motion sensor light switch for brewery office and lab | Brahm | 2020-10-12 | 2020-11-30 | 2020-11-10 | Brahm | n/a
One Time | Plumbing | 2 | Big Triple Sink Community Space | Replace gasket on leftmost basin drain | Brahm |  |  | 2022-09-20 | Brahm
One Time | Electrical | 1 | Brewery Outlets | Replace brewery outlets with weatherproof outlet boxes, remove some outlets | Brahm | 2020-10-10 | 2020-11-15 | 2020-10-12 | Brahm | n/a
One Time | Interior | 1 | Depal Anchor | Concrete Anchor Depal | Brahm | 2020-10-12 | 2020-10-30 | 2020-10-12 | Brahm | n/a
One Time | Electrical | 1 | Emergency Exit Light (Taproom) | Annex "pool room" exit light letters | Brahm | 2020-10-10 | 2020-10-20 | 2020-10-23 | Brahm | n/a
One Time | Electrical | 1 | Emergency Exit Light (Brewery) | Install Exit light near brewery sink | Brahm | 2020-10-10 | 2020-10-30 | 2020-10-23 | Brahm | n/a
One Time | Electrical | 1 | Dimmer | Annex "pool room" | Brahm | 2020-10-10 | 2020-10-20 | 2020-10-26 | Brahm | n/a
One Time | Electrical | 1 | GFCI Outlet | Install GFCI outlet near brewery sink | Brahm | 2020-10-10 | 2020-11-15 | 2020-10-26 | Brahm | n/a
One Time | Plumbing | 1 | Automatic water drain | Install autmotic drain for air compressor | Desseler | 2020-10-31 | 2020-10-28 | 2020-10-28 | Desseler | n/a
One Time | Plumbing | 2 | Clear Bathroom Drain | Clear slow flow of taproom north bathroom sink | TBD | 2020-10-10 | 2020-11-30 | 2020-11-10 | Brahm | n/a
One Time | Interior | 1 | Depal Deck | Install depal service deck and access ladder | Wes | 2020-10-12 | 2020-10-30 | 2020-12-01 | Wes | n/a
One Time | Interior | 1 | Soap / Paper Towel Dispensers | Install soap and paper towel dispenser in brewing area and lab | Wes | 2020-10-12 | 2020-11-15 | 2020-12-01 | Wes | n/a
One Time | Interior | 1 | merchandise display | Install display shelfs and such | Wes | 2020-10-31 | 2020-11-15 | 2020-12-01 | Wes | n/a
One Time | Plumbing | 1 | Compressor Valve plate | Replace air compressor valve plate and reed | Wes | 2020-10-31 | 2020-11-15 | 2020-12-01 | Wes | n/a
One Time | Plumbing | 1 | Boiler Room Backflow Drain | Replace / repair drain for boiler supply line backflow preventer | Brahm | 2020-10-13 | 2020-11-30 | 2020-11-15 | Brahm | n/a
One Time | Electrical | 2 | Dart Board Lights | Install dart board area lights | Brahm | 2021-10-25 | 2021-11-15 | 2021-12-10
One Time | Interior | 2 | Tool Room | Build Tool Room in East Basement | TBD | 2020-10-12 |  | 2021-10-25 | Brahm | n/a
One Time | Interior | 3 | Install Second lowering chalk board | Install the second lowering chalk board | Brahm | 2020-10-31 | 2021-01-01
One Time | Electrical | 3 | Dimmers | Community space | Brahm | 2020-10-10
One Time | HVAC | 1 | RTU 1 | Find replacement and install new first stage air filter | Brahm | 2022-09-20 | NA
One Time | HVAC | 1 | ERV Repair | Troubleshoot cold air return from ERV | Brahm | 2021-12-01 | 2021-12-15 | 2021-12-01
One Time | Electrical | 2 | West alley motion light | Install motion light over door in west alley | Brahm | 2020-10-31 | 2021-02-01 | 2021-12-12 | Brahm | n/a
One Time | Interior | 3 | Chalk Board Sign | Paint back side of lowering chalk board with black chalk board paint | Brahm | 2020-10-12 | 2020-12-15 | 2021-11-22 | Brahm | n/a
One Time | Plumbing | 2 | HLT pipe support | Add / replace supports for steam pipe from HLT to brewhouse | Brahm | 2020-10-10 | 2020-10-30 | 2020-10-12 | Brahm | n/a
One Time | Other | 2 | East Entrance Door Flashing | Replace / improve flash to east alley from office | Brahm | 2020-10-12 |  | N/A
Quarterly | Mechanical | 1 | Air Compressor Check | Drain Water, Check Oil | Brahm | 2020-10-12 | Quarterly | 2020-10-28 | Wes | 2021-01-15
One Time | Interior | 2 | Brewery Bathroom | Finish out brewery bathroom | TBD | 2020-10-12 |  | 2021-11-22 | Wes | n/a
One Time | Interior | 2 | Foseball Table Handle | Repair foseball table handle | TBD | 2021-11-22 | 2021-12-20 | 2021-12-13
One Time | Interior |  | New light fixtures over foosball table | Install light fixtures | Brahm |  |  | 2023-06-15 | Brahm
One Time | Interior |  | Taproom stool back | Install new stool back rests as needed | Brahm |  |  | Summer 23 | Brahm
One Time | Interior |  | Move Garage Light | Move light over new tank to better spot | Brahm |  |  | 45100 | Brahm
One Time | Interior |  | New Pizza Oven | Install feet on bottom | Brahm |  |  | 2023-07-11 | Brahm
One Time | Interior |  | New Pizza Oven | Replaced 50a 240 outlet with 20a for new pizza oven | Brahm |  |  | 2023-07-25 | Brahm
One Time | Interior |  | Sound Panels | Install Deep sound panel to stage left and second sound panel over SW corner of com space | Brahm |  |  | 2023-08-08 | Brahm
One Time | Interior |  | Stairs to Community Space | Paint faces of stairs to community space before big gretch gets here | Brahm |  |  | 2023-08-15 | Brahm
One Time | Interior |  | GFCI 3rd Bathroom | Remove non function GFCI in third bathroom in taproom | Brahm |  |  | 2023-08-29 | Brahm
One Time | Interior |  | Hang photos | Hang photos inside and outside bathroom and near pool table | Brahm |  |  | 2023-08-15 | Brahm
One Time | Interior |  | Coat Rack | Hang coat rack in kitchinette halways | Brahm |  |  | 2023-08-29 | Brahm
One Time | Interior |  | 240 Kitchinette | Move outlet for pizza oven to other wall in kitchinette | Brahm |  |  | 2023-09-01 | Brahm
One Time | Interior |  | Barrel rack | Remove appendeges from barrel rack with grinder | Brahm |  |  | 2023-09-05 | Brahm
One Time | Interior |  | Life preserver | Hang orange life preserver above doorway to sewing shop | Brahm |  |  | 2023-09-12 | Brahm
One Time | Interior |  | North Bathroom | hang sheet metal to protect wall from recycle bin in SE taproom bath | Brahm |  |  | 2023-09-12 | Brahm
One Time | Interior |  | Photos | Hang photos on east wall in annex over foosbal tables, etc | Brahm |  |  | 2023-09-12 | Brahm
One Time | Interior |  | Shelves | Cleaned and seal lumber for new shelf in taproom | Brahm |  |  | 2023-09-07 | Brahm
one Time | Interior |  | Shelves | Hang sealed lumber as shelves with shitty pipe-shelf system | Brahm |  |  | 2023-09-12 | Brahm
One Time | Interior |  | Community Space Glass Rack | Secure top wire rack holding glasses behind upstairs bar | Brahm |  |  | 2023-09-19 | Brahm
One Time | Interior |  | Garage Thermostat | Replace battery | Brahm |  |  | 2023-09-26 | Brahm
One Time | Interior | 1 | Upgrade subpanel in mop closet | Upgrade mop closet service from 20a to 125a | Brahm | 2023-06-15 | Ass-AP | 2023-06-27 | Brahm
One Time | Interior | 2 | Dart Boards | Install dart board area | Wes | 2021-10-25 | 2021-11-15 | 2021-12-01
One Time | Sound Closet |  | Mic stand hooks | Hang boards with hooks in sound closet for mic stands | Brahm |  |  | 45216 | Brahm
One Time | Kitchinette |  | Mini Fridge Door | Switch door swing on mini fridge in kitchinette | Brahm |  |  | 2023-10-17 | Brahm
One Time | Interior |  | Employee Bathroom Toilet | Replace fill valve | Brahm |  |  | 2023-11-28 | Brahm
One Time | Interior |  | Upstairs Womens bathroom | Tighten down door closer | Brahm |  |  | 2024-01-09 | Brahm
One Time | Interior |  | Upstairs Mens bathroom | Replace flush handle | Brahm |  |  | 2024-01-09 | Brahm
One Time | Interior |  | Upstairs Mens bathroom | Sand/paint drywall above toilet (damaged from patron) | Brahm |  |  | 2024-01-09 | Brahm
One Time | Interior |  | Cornhol bag bucket | Make it not falling apart | Brahm |  |  | 2024-01-16 | Brahm
One Time | Interior |  | ADA Ramp | Tightene down any loose screws | Brahm |  |  | 2024-01-16 | Brahm
One Time | Interior |  | Upstairs Mens bathroom | Unclog right sink drain | Brahm |  |  | 45316 | Brahm
One Time | Interior |  | Stage | Hang corugated steel baffle(?) and trim sound foam to fit | Brahm |  |  | 45316 | Brahm
One Time | Interior |  | Kitchinette | Refasten valance | Brahm |  |  | 45321 | Brahm
One Time | Interior |  | Annex | Replaced 4-light switch with 450w dimmer | Brahm |  |  | 2024-02-16 | Brahm
One Time | Interior |  | Taproom Bar | Tighten handwash sink faucet fixture |  |  |  | 2024-02-16 | Brahm
One Time | Interior |  | Taproom mop closet | Fixed leak on hot-water faucet handle |  |  |  | 2024-02-14 | Brahm
One Time | Interior |  | Upstairs Bar | Replaced "Bar" light switch with 450w dimmer |  |  |  | 2024-02-16 | Brahm
One Time | Interior | 1 | Garage door seal | Trim and silicone adhere taproom garage door seal | Brahm | 2020-10-31 | 2020-11-15 | 2021-12-14 | Brahm | n/a
One Time | Interior | 2 | Resurface Steel Beam | Repaint / Repair steel beam in brewery | Dad | 2020-10-10 | 2020-01-30 | 2021-01-20 | Dad | n/a
One Time | Interior | 2 | North Wall Paint | Paint north wall in brewing area | Wes | 2020-10-10 | 2020-11-30 | 2021-10-25 | Wes | 2022-10-01

## Maintenance Summary
Priority | Cadence | Category | Title | Description | Assigned to | Date Needed | Date Completed
1 | One Time | Interior | Gas Cylinder Storage | Establish Full and Empty locations and labeling for gas cylinder storage | Wes | 2020-11-30 | (blank)
|  |  | Upstairs mop sink seal | Seal joint around upstairs mop sink |  | 2021-11-15 | (blank)
|  | Plumbing | Faucet Repair | Brewery |  | 2021-10-27 | (blank)
|  |  |  | Upstairs mop closet |  | 2021-11-15 | (blank)
2 | Annually | Interior | Community Floor Resurface | Resurface wood floors upstairs |  | (blank) | (blank)
| One Time |  | Floor repair and finish | Repair floor in brewing area and surface finish |  | 2020-12-30 | (blank)
|  |  | Pool Table Bar | Mfg and install pool table bar surface |  | 2021-11-15 | (blank)
|  |  | Dart Boards | Install dart board area |  |  | (blank)
|  |  | Tile Repair | Brewery |  | 2021-12-25 | (blank)
Grand Total